Parameters setting of the temperature controller

| Parameter | Present | Function | Note |
| --- | --- | --- | --- |
| HIAL |  | Max. Temp limit |  |
| LOAL |  | Initial Temp limit | Limit output current below 0 oC |
| dHAL |  | Alarm in positive tolerance |  |
| dLAC |  | Alarm in negative tolerance |  |
| dF |  | Adjustment difference | The smaller dF, the higher accuracy auto-tune |
| CtrL |  | Control type |  |
| Ctr |  | Output Period | Reflect controller’s adjustment Speed |
| Sn |  | Thermocouple type |  |
| dIP |  | Position of decimal |  |
| dIL |  | Min. Display value |  |
| dIH |  | Max. Display value |  |
| Sc |  | Main input shift and adjustment | Tolerance between input and sensor (In order to get a precise result, this may be revised in calibration process). |
| OP1 |  | Output type | 1 is output from 1 to 10 mA |
| OPL |  | Output lower limit |  |
| OPH |  | Output upper limit |  |
| ALP |  | Alarm output definition |  |
| CF |  | System function selection | “6” means limit output current at global range |
| Addr |  | Communication address |  |
| bAud |  | Baud Rate |  |
| dL |  | Input digital filter | The larger value of dL, the more stable measured temperature will be, but slow down the response rate |
| run |  | Running Condition |  |
| Loc |  | Parameter Lock | Value „0” will lock data that has been entered. “ 808” will open lock to allow you to see and revise all parameters. |
| M5 |  | PID Parameters |  |
| P |  | PID Parameters |  |
| T |  | PID Parameters |  |
| CtrL |  |  |  |

Temperature Profile

| C01 |  |
| --- | --- |
| T01 |  |
| C02 |  |
| T02 |  |
| C03 |  |
| T03 |  |
| C04 |  |
| T04 |  |
| …… |  |